## Sheet1
Request for proposals (RFP) for [insert title of RFP]- Q&A
RFP/CHAI/PIP/LES0122
No. | Clarification requested | Answer
1 | Is the MGPS RFP call for the supply of material only? Who will be installing all the equipment? We don't see some MGPS items in the RFP Annexes? | The scope of work for the MGPS RFP includes system design, sourcing of all necessary project materials, installation, testing, and commissioning of the MGPS. Generally, vendor proposed units/devices/interfaces to ensure delivery of an optimally functional MGPS should be noted and functional description provided
2 | Please confirm if the requested Oxygen gas terminals are British Standard or South African Standard | As per Annex B under MPGS Design Specifications, the oxygen gas terminal connection type requested is British Standard (BS
3 | Do you have a plan/furniture layout for the hospital? | Vendors are expected to perform a technical site visit to inform their designs to be submitted with the bid package. Vendors will have a chance to capture details needed such as the wards and furniture layout in the coming site visit arranged by CHAI on 24th May 2022 , 11am to 1pm. If a manufacturer/vendor is unable to participate in this visit, please coordinate a technical site visit separately to complete the requested documentation before the closing date.
4 | Please clarify regarding inclusion of Gas Zone Service Units and Master Alarm Units, and gas type - is this RFP only medical Oxygen or does it include piping for other medical gases as well? | The RFP call is specifically for medical Oxygen line in the facility. Manufacturers/vendors are to propose appropriate and feasible solution(s) considering MGPS Alarm specifications found in Annex B, under MPGS Design Specifications. Generally, vendor proposed units/devices/interfaces to ensure delivery of an optimally functional MGPS should be noted and functional description provided
5 | Since COVID, most medical device manufactures /suppliers request an upfront payment before shipping products. Is it possible to negotiate for an upfront payment of 50% followed by a 50% payment after MGPS supply and inspection? | CHAI works with all vendors to establish agreeable payment terms at the time of vendor selection and purchase order drafting. We are open to a variety of arrangements and suggest vendors include any preferences in their submission