## Sheet1
Invitation to Bid (ITB) for Cylinders and Accessories - Q&A
ITB/CHAI/CAA/0122
No. | Clarification requested | Answer
1 | Warrenty Requirement in the ITB is 3 years,But in Annex B the warranty for Cylinder are 5 years recommended, 1 year mandatory,for Regulator, flowmeter and humidifier. Could you please kindly advise which warranty is the right one. | The desired specification is as detailed in Annex B
2 | Local service: Any on-site service required within the warranty period? | It is not anticipated; however service providers shall be available in the geography to address any critical issues or replace faulty equipment if/where needed.
3 | Conditions for Release of PaymentIn the ITB,The vendor will finish the obligation and get the payment after the supply and inspection.Could we request for a time limit for the inspection after the delivery? | Inspections will be comducted after delivery and results communicated to selected vendor
4 | Specification requirement Only cylinders of 47.2L is mentioned in the specification, Does the working pressure and other spec of 50L cylinders keeps the same with 47.2L. | 50 L cylinders are acceptable. If nominal working pressures change, please indicate. Regardless, ISO 9809-1 must be heeded - cylinders must be certified as such.
5 | Delivery Schedule = in the tender it states delivery must be before 30th Sep 2022 which is around 15 weeks from now. With the tender closing date being 24th June, do you know what date the tender will be awarded and a PO issued? This is quite a large volume of cylinders and currently global demand for cylinders is high due to Covid-19 & the ongoing conflict in Ukraine. Therefore I wanted to check how many days there will be from placement of PO to latest expected delivery date of the 30th Sep. | This can be negotiated
6 | Delivery Terms + cost = we can get a delivery cost for DAP + CIF for each location. However, as we all know global freight is fluctuating almost daily at the moment therefore the price we quote now will probably be different to when the tender is awarded. Would it be possible to give a shipping price for todays price and then if it changes significantly could this be requoted at point of shipping? Or do we have to fix a shipping price for the duration of the tender and supply period? | Shipping costs should be quoted at the days rate, fluctuation in market can be discussed during execution of the contract
7 | Payment Terms = at what stage of the tender submission is it possible to negotiate the terms? | At the stage of contracting through Purchase order
8 | DISS inlet fitting is usually when a wall flowmeter is requested. Hence we need to confirm if you need wall flowmeters that can be used only with oxygen wall outlets of the same standard (DISS in this case) in hospitals or ambulances. On the other hand, pressure regulators are to be used only with oxygen cylinders (in this case with bullnose / British Standard valves), they cannot be connected to wall outlets | We are seeking flowmeters whose connection is compatible with a pressure regulator. We are not seeking flowmeters for use with wall outlets in this RFQ. DISS = Diameter Index Safety System, a threading system to avoid a mis-match in this case between gas and hardware used. DISS threading is what is used to connect Thorpe Tube flowmeters to either a pressure regulator or to wall terminal unit adapter (which would be specified by type). Note that dial-click flometers and compatible regulators do not have these same type connections.
DISS connection