## Summary
Reference number |  | RFP/CHAI/PIP/SWZ0123
Definations
| Total Cost of RFP | 0 |  | PSM | Procurement and Supply Chain Management Cost
| Number of products |  |  | 3PL | Third party Logistics company
| Number of Health Facilities | 2 |  | Lead time | Time order is placed till products gets to the delivery address
Break down of PSM costs |  |  |  | Comments from supplier
S/no | Activity | % | Cost (USD)
1 | Freight
2 | Warehouse
3 | Quality Control
4 | Insurance
5 | Handling

## Product
Reference number |  | RFP/CHAI/PIP/SWZ0123
Product information
S/no | Product | Model | Unit | Supplier | Quantity |  | Unit Cost (USD) | Total Product cost(USD) | Total PSM costs(USD) | Total cost(USD) | INCOTERM | 3PL details | Country | Delivery address | Consignee details | Shipping documents | Lead time (days)
[5 empty] | Mbabane Government Hospital | Piggs Peak Government Hospital
1 | Fully automatic Oxygen manifold system |  | Set |  | 1 | 1 |  | 0 |  | 0 |  |  | Eswatini | Mbabane Government Hospital , P O Box 8 , H100, Mbabane, Eswatini Piggs Peak, H108, Eswatini. Postal Address: P.O. Box 46 | Clinton Health Access Initiative P O Box 6080, Mbabane, Kingdome of Eswatini Contact 1: Name: Mpumelelo Ndlela Tell: +268 7973 0413 Email: mndlela@clintonhealthaccess.org Contact 2: Name: Vusumuzi Dlamini Tell: +268 7639 5274 Email: vusumuzisdlamini@gmail.com | Commercial Invoice Packing List Bill of Lading/AW Certificate of Origin Relevant Conformity Certificates (CE,ISO/FDA/) Any other document deemed necessary for importation into Eswatini
1.1 | 2x10 manifold Note: 2x10 manifold will replace existing 2x8 manifold at Mbane Government Hospital and existing 2x5 manifold at Piggs Peak Government Hospital. |  | Pieces |  | 1 | 1 |  | 0 |  | 0 |  |  | Eswatini
2 | Medical Gas Terminal Units |  | Pieces |  | N/A | 54 | [6 empty] | Eswatini
3 | Area Alarm Unit |  | Pieces |  | N/A | [7 empty] | Eswatini
4 | Zone Service Units |  | Pieces |  | N/A |  |  |  |  | 0 |  |  | Eswatini
5 | Master Alarm Units |  | Pieces |  | N/A | [7 empty] | Eswatini
6 | Medical copper pipe | N/A |  |  | N/A | [7 empty] | Eswatini
6.1 | Dia. 12mm | N/A | Meter |  | N/A | [7 empty] | Eswatini
6.2 | Dia. 15mm | N/A | Meter |  | N/A | [7 empty] | Eswatini
6.3 | Dia. 22mm | N/A | Meter |  | N/A | [7 empty] | Eswatini
6.4 | Dia. 28mm | N/A | Meter |  | N/A | [7 empty] | Eswatini
6.5 | Dia. 35mm | N/A | Meter |  | N/A | [7 empty] | Eswatini
7 | Support structure | N/A | Lump sum |  | N/A | [7 empty] | Eswatini
8 | Copper fittings and accessories | N/A | Lump sum |  | N/A | [7 empty] | Eswatini
9 | Pipe trunking | N/A | Lump sum |  | N/A | [7 empty] | Eswatini
10 | Flowmeter, 0-3.5 LPM |  | Pieces |  | N/A | 19 | [6 empty] | Eswatini
11 | Flowmeter, 0-15 LPM |  | Pieces |  | N/A | 35 | [6 empty] | Eswatini
12 | Humidifier |  | Pieces |  | N/A | 54 |  |  |  | 0 |  |  | Eswatini
13 | Installation inclusive of team travel, room and board | N/A | Lump sum | [9 empty] | Eswatini
14 | [other] |  |  |  | N/A | [7 empty] | Eswatini

## Services and Project Timeline
Reference number | RFP/CHAI/PIP/SWZ0123
Services and Project Timeline
Activity | Duration | Start | Finish | Comments
Procurement of all project materials
Submission of third party documentation for chemical and physical composition, cleaning, and degreasing of piping hardware (as per ASTM B-819, NFPA 99 and/or equivalent)
Staging of works at site
Installation at site (Note: this is an existing operational facility)
Testing
Comissioning
Delivery of comprehensive training to facility team
Completion of handover including provision of the following to CHAI, MOH, and facility team:
As-built design DWGs (if deviation from proposed DWGs)
Testing report
Commissioning report and certificate

## Vendor details
Vendor information
Company Name
Local Address (HQ)
Phone
Contact name
Contact information
Years in Business
Any quality certifications (type e.g., QMS & date); Please attach copies of each certificate to RFP submission
Previous export experience to target countries (please describe and list any relevant registrations, qualifications, licenses, attaching copies of each to RFP)
Client portfolio
Tax Identification Number
3PL information
Company Name
Contact information
HQ Location
After care services provided as a part of the warranty
Nature of Partnership
Products Covered
Additional Costs

## Submission Checklist
S/no | Submission Checklist | Document attached (Yes or No)
1 | Business Registeration
2 | Company profile
3 | Tax clearance certificate
4 | Completed Annex A
5 | Completed Annex B
6 | CVs of key personnel necessary for project delivery
7 | Evidence of completing similar Projects within the past 2 years