## Instructions for specs
Please read the instructions carefully to ensure that all required documentation is submitted.
Only complete bids with all tabs filled and supplemental documentation attached will be considered.
Tab: "1 - Gas oxygen cylinder filling service
This table contains requirements for Gas oxygen cylinder filling service included in the RFP.
Please review these requirements carefully before preparing the technical proposal.
Vendors must submit proposals indicating that these requirements are met.
Tab: "1 - Gas oxygen cylinder filling service
This table contains requirements for Oxygen cylinder transport service included in the RFP.
Please review these requirements carefully before preparing the technical proposal.
Vendors must submit proposals indicating that these requirements are met.
Query period: | [insert dates]
Query email address:

## 1. Cylinder filling
Component | Specification | Meet requirement? | Type of supporting documents | File name as submitted | Page No | Comments
Overview | The filling of 1300 J-size cylinders (50 L water capacity) in Cameroon
Cylinder filling operations | Explanation of segregation between industrial vs medical (if applicable) and full vs empty oxygen cylinders and how contamination is prevented.
Evidence of use of seal for the valve stem at each fill.
Medical oxygen cylinders have to be filled at 150 bars
Use appropriate fill couplings to ensure the integrity of cylider valves
Regulatory | For pressure swing adsorption (PSA) sources:
Proof of stringent regulatory (SRA) approval (e.g., CE or FDA) for oxygen generating unit of PSA plant
Explanation of how output stream is tested to ensure output purity meets requirements of an SRA pharmacopeia (e.g., USP, Ph Eu, BP, or IP)
For medical liquid oxygen (LOX) sources:
Proof of stringent regulatory authority (SRA) approval for medical LOX
OR
Proof of product meeting the requirements of an SRA pharmacopeia (e.g., USP, Ph Eu, BP, or IP) as shown by their specification and a sample Certificate of Analysis (CoA).
Good Manufacturing Practices | Address(es) of the production and filling site
Copy of the manufacturer’s license to distribute medical oxygen or license as a wholesaler of medical oxygen
Facility safety directives.
For medical LOX sources:
Certificate of Analysis (CoA) template to indicate alignment with USP, Ph Eu, Int’l Pharmacopoeia, or British Pharmacopoeia
Proof of GMP OR the following:
• Certification of ASU, and storage tanks for oxygen service for medical application.
• Cleaning protocols for tanks (storage and transport) (e.g., cleaned to ISO 23208 with ‘cleaned for O2’ indicated in scope).
• Audit history of a manufacturing facility from the past 3 years (including validity dates for audits).
• Facility safety directives.
• If a manufacturer is producing industrial and medical LOX, an explanation of when the product streams are separated and how contamination is prevented.
• Explanation of how a batch of medical LOX is defined.
• Validation of manufacturing and cleaning processes.
For cylinder filling activities:
Proof of GMP OR the following:
• If a supplier is filling industrial and medical high pressure gas cylinders, an explanation of when the product streams are separated and how contamination is prevented.
• Validation of filling and cleaning processes.
• Explanation of cylinder recordkeeping practices including how a batch of filled cylinders is defined.
Quality Management Systems | ISO 9001: General Quality Management Systems (QMS)
For PSA sources: ISO 13485:2016 - Certified quality management system for medical devices
Documentation | Proof of sale of filled medical gas cylinders to government owned health facilities
List of up to 5 institutional clients (e.g. international NGOs, large corporate bodies, government procurement agencies). Please include pertinent information about the relationship (e.g contract size, duration, products, etc.)
Sample and template of data included in filled cylinder batch records.
For PSA sources:
Provision of preventive maintenance logs since installation and commissioning
Sample and template of daily logbook used to monitor key performance indicators
Sample medical oxygen test report according to procedures outlined in row 18 (if applicable)
Product Performance Standards (or equivalent) | EIGA DOC 229/20: Guidance for manual handling activities for cylinders
EIGA DOC 110/16: Environmental impact cylinder filling plants
EIGA DOC 04/18: Fire hazards of Oxygen and oxygen-enriched atmosphere

## 2. Cylinder transport
Component | Specification | Meet requirement? | Type of supporting documents | File name as submitted | Page No | Comments
Overview | One-time Tranport of 1300 empty J-size cylinders (50 L water capacity) to the Oxygen production facility and distribute them after being filled to following health facilities in Cameroon: 1. Douala-36 2. Buea - 167 3. Bamenda -108 4. Bafoussam - 254 5. Yaounde - 204 6. Ebolowa - 154 7. Ngaoundere - 48 8. Bertoua - 90 9. Maroua - 128 10. Garoua - 107
Good Manufacturing Practices(GMP) | Address of the transportation company facility
Copy of the supplier/transporter’s license for the transport of medical oxygen as a wholesaler of medical oxygen
Copy of the supplier/transporter’s license for the transport of medical oxygen (N:B if border crossing, Copy of export licence).
Certification of transport vehicles for oxygen service for medical application.
Transportation safety directives.
If transporter distributes industrial and medical gas cylinders, please provide an explanation of cylinder segregation
Explanation of how a batch of medical LOX is defined.
A letter of authorization from the company making the deliveries to the company supplying the filled gas cylinders (if applicable).
Safety | Vehicles:
• Operators and the driver of the vehicle must have training on the transport and handling of cylinders their properties, and potential risks.
• All properties and risks specific to oxygen shall be made clear.
• separating the driver’s compartment from the cylinders to prevent any build-up of oxygen to avoid an oxygen enriched atmosphere within the driver’s cabin
• Bearing a plate indicating the maximum load capacity, and equally important, to know what this limit means with fully charged cylinders and to never exceed it.
• Clear signage that the vehicle is transporting compressed gas cylinders, and specifically an oxidizer.
• Having means by which to safely load and offload cylinders. Examples of this are a loading ramp or a [hydraulic] lift-gate
• The vehicle must be up to date in service, with all electrical and mechanical operations guaranteed to be functioning and safely
• the vehicle must have the ability to offload/ground static energy.
• there must also be two fire-extinguishers to hand and always appropriately charged.
• the vehicle must have an audible alarm when reversing.
In transit: Cylinders shall be:
• Transported upright (vertically) on the flatbed of a dedicated truck.
• Fixed in position in the transport unit by appropriate means to avoid any movement throughout the entire transfer period transfer.
• Transported with valve protection, either with a valve cap or a valve guard.
Offloading and handling:
• When offloading, the vehicle itself must be locked with a device to prevent possible movement.
• Good handling practices for loading and unloading shall be established to avoid any damage caused by dragging or falling cylinders.
• Any more localized transport shall be by cylinder trolley, or in special cases where cylinders need to be shifted, they can be carefully rolled on the rim of the bottom edge
• Under no circumstances shall cylinders themselves be rolled horizontally.
Documentations | Proof of sale of filled medical gas cylinders to government owned health facilities
List of up to 5 institutional clients (e.g. international NGOs, large corporate bodies, government procurement agencies). Please include pertinent information about the relationship (e.g contract size, duration, products, etc.)
Product Performance Standards (or equivalent) | EIGA DOC 229/20: Guidance for manual handling activities for cylinders
EIGA DOC 110/16: Environmental impact cylinder filling plants
EIGA DOC 04/18: Fire hazards of Oxygen and oxygen-enriched atmosphere

## RFI_MFLab (hidden)
| 关于产品 | [9 empty] | 关于贵司
产品类型 Product Type | 产品标准要求 Product Specifications | 产品型号（请列出贵公司符合左侧标准要求的产品，并邮件提供电子版产品用户手册） Product Model (s) | 产品排期（假设下周下订单，预计能够供的最早出货排期至何时（日期）？ Lead time if order placed next week (date) | 本次订单所需数量 Units Required | 公司当前可出售的数量 Units Available | 法规批准/认证Regulatory Approval/Certification |  | 产品性能标准Standards, for product performance |  | 产品单价（美金） Unit price (USD) | 制造商标准 Standards, for manufacturer |  | 预付款要求 Pre-payment requirement | 公司以前有向埃塞俄比亚出口的经验吗？Does company have previous export experience to Ethiopia? | 图片示例 Picture
[6 empty] | 标准 | 如果有，请填写 “X” | 标准 | 如果有，清填写 “X” |  | 标准 | 如果有，清填写 “X”
简单氧气气面罩 Simple Face Masks | 成人式： 医用级 | LB1110, Adult(LA), 5.5mm x 2m绿色管 |  | 2000 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X | 生产前付清 | 有
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
ISO 18190
[8 empty] | ISO18562-1 | X
ISO/DIS 23368
[8 empty] | ISO/DIS 17256 | X
[8 empty] | ISO 15223-1 | X
不重吸面罩 Oxygen Mask with reservoir bag | 成人式： 氧气浓度：支持80%至100％的氧气浓度 管长: 2m 使用标准接头；管路（氧气管线）不弯曲 材质：聚氯乙烯（PVC）； 透明；医用级 | LB1310, Adult(LA), 5.5mm x 2m绿色管 氧袋1000ml |  | 2000 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
ISO 18190
[8 empty] | ISO18562-1 | X
ISO/DIS 23368
[8 empty] | ISO/DIS 17256 | X
[8 empty] | ISO 15223-1 | X
文丘里面罩（氧浓度可调面罩） Venturi Mask | 成人式：能以8至10 L / min 的流速输送低至中等流量的氧气，特定氧浓度为30％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,31%(氧气流速6L/min±10%),白色，其他符合 |  | 300 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
| 成人式：能以10至12 L / min 的流速输送低至中等流量的氧气，特定氧浓度为40％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,40%(氧气流速8L/min±10%),粉色，其他符合 |  | 300 |  | CE | X | ISO 18190
[6 empty] | FDA | X | ISO18562-1 | X
[6 empty] | 出口许可证 | X | ISO/DIS 23368
| 成人式：能以12至15 L / min 的流速输送低至中等流量的氧气，特定氧浓度为60％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,60%(氧气流速8L/min±10%),红色，其他符合 |  | 300 |  | CE | X | ISO/DIS 17256 | X
[6 empty] | FDA | X | ISO 15223-1 | X
[6 empty] | 出口许可证 | X
非侵入性/ CPAP口罩 Non-Invasive/CPAP Masks | 入口细菌过滤器（如果适用）（至少180）。 呼气过滤器，效率高。重复使用，可以承受高级消毒和灭菌。 中等大小 | LB3041,不带细菌过滤器，全硅胶，面罩+支架+头带, M |  | 130 |  | CE |  | ISO 18562-1:2017 | X |  | ISO9001 | X
[6 empty] | FDA |  | ISO 17510:2015 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X |  |  |  | ISO14971 | X
非侵入性/ CPAP口罩 Non-Invasive/CPAP Masks | 入口细菌过滤器（如果适用）（至少180）。 呼气过滤器，效率高。重复使用，可以承受高级消毒和灭菌。 大码。 | LB3041,不带细菌过滤器，全硅胶，面罩+支架+头带，L |  | 130
气管导管 Endotracheal Tube | 管： 尺码：7。 内径：7.0mm。 外径：9.3mm。 长度：最小320mm。 接头： 近端：标准内径：15mm。 远端（适合管子）：长度：最小16mm。 袖口： 直径：24mm | LB5010C, 带囊，ID 7.0mm,其他符合 |  | 350 |  | CE | X | ISO 5361:2016 | X |  | ISO9001 | X
[6 empty] | FDA |  | ISO 10993-1:2018 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO 11135:2014 | X |  | ISO14971 | X
| 管： 尺码：7.5 内径：7.5mm。长度：最小320mm。 接头： 近端：标准内径：15mm。 远端（适合管子）：长度：最小16mm。 | LB5010C, 带囊，ID 7.5mm,其他符合 |  | 350 |  | CE | X | ISO 5361:2016 | X
[6 empty] | FDA |  | ISO 10993-1:2018 | X
[6 empty] | 出口许可证 | X | ISO 11135:2014 | X