## 12-month mLOX manufacture
Important note: The table below is not an evaluation form with a binary outcome. Data collected will be used to initiate a risk assessment and determine priority for follow-up conversations & evaluations. When a risk assessment is completed, we will move forward with consideration for the current market and regulatory infrastructure in country. If you have not met the requirements in table previously because it has not been required by your regulatory and market environment, we wish to understand what preparations you have the capacity to make and where additional technical assistance, resources or time may be required.
Component | Supporting documents required for each manufacturing site | Meets requirement? (Yes/No/NA) | Type of supporting document (select from drop down) | File name as submitted | Page No. | Comments
Overview | Chain of custody from manufacturing site to CUK, including: • The manufacturing site(s) where mLOX will be sourced • Responsible party/parties for transport from mLOX manufacturing site to CUK • Responsible party/parties for mLOX transfer procedures from transportable cryogenic vessel to bulk storage tank at CUK • Responsible party/parties for transportable cryogenic vessel cleaning and maintenance
Regulatory | Proof of stringent regulatory authority (SRA) approval for medical LOX OR Proof of product meeting the requirements of an SRA pharmacopeia (e.g., USP, Ph Eu, BP, or IP) as shown by their specification and a sample Certificate of Analysis (CoA).
Proof of compliance with Congolese Pharmaceutical Regulatory Authority (ACOREP) requirements
Proof of other regulatory approvals
Good Manufacturing Practices (GMP) | Address of the manufacturing facility
Certificate of Analysis (CoA) template to indicate alignment with USP, Ph Eu, Int’l Pharmacopoeia, or British Pharmacopoeia
Copy of the manufacturer’s license to distribute medical oxygen or license as a wholesaler of medical oxygen
Proof of GMP OR the following:
• Certification of ASU, and storage tanks for oxygen service for medical application.
• mLOX batch definition and control procedures
• Testing procedures
• Control of non-conforming product procedures
• Tanker loading procedures, including including prefill analyses and checks
• Segregation procedures if a manufacturer is producing industrial and medical LOX
• Cleaning and purging protocols for tanks (storage and transport) (e.g., cleaned to ISO 23208 with ‘cleaned for O2’ indicated in scope).
• Audit history of a manufacturing facility from the past 3 years (including validity dates for audits).
• Facility safety directives.
• Validation of manufacturing and cleaning processes.
• Description of procedures (e.g., inspection, system purge, leak and pressure testing) followed prior to filling a customer-owned tank that has been previously filled by another mLOX supplier.
• A letter of authorization between the manufacturer and supplier if mLOX supply is outsourced.
Quality Management Systems | ISO 9001: Quality Management Systems - Requirements
Documentation | Evidence of sale of medical LOX to government body
Please list up to 5 institutional clients (e.g. international NGOs, large corporate bodies, government procurement agencies). Please include pertinent information about the relationship (e.g contract size, duration, products, etc.)
Please provide a written letter confirming that the site will be visited and an assessment report will be provided before filling. The report should detail:
Accessibility of each site for the LOX tanker, compatibility checks, recommendations and actions to ensure safe filling.

## 12-month mLOX transport
Important Note: The table below is not an evaluation form with a binary outcome. Data collected will be used to initiate a risk assessment and determine priority for follow-up conversations & evaluations. When a risk assessment is completed, we will move forward with consideration for the current market and regulatory infrastructure in country. If you have not met the requirements in table previously because it has not been required by your regulatory and market environment, we wish to understand what preparations you have the capacity to make and where additional technical assistance, resources or time may be required.
Component | Supporting documents required for each mLOX transporter | Meets requirement? (Yes/No/NA) | Type of supporting document (select from drop down) | File name as submitted | Page No. | Comments
Technical requirement | Address of the transportation company headquarters and any relevant subsidiary, including party/parties responsible for mLOX transfer procedures at customer site if different.
Copy of the transporter/supplier’s license to distribute medical oxygen or license as a wholesaler of medical oxygen
Copy of import/export license for the transport of medical oxygen if border crossing
Evidence of relevant certifications (e.g., TPED 2010/35/EU or US DOT) and labeling (e.g., GHS, DOT hazard class, UN ID 1073 class) of road tanker for oxygen service for medical application).
Cleaning and purging protocols for transportable cryogenic vessels (e.g., cleaned to ISO 23208 with ‘cleaned for O2’ indicated in scope).
Safety directives, procedures, or internationally recognized guidelines (e.g., EIGA) that are followed to ensure safe transport and transfilling of medical LOX
If transporter distributes industrial and medical LOX, explanation of how contamination of transport vessels is prevented.
mLOX batch definition and control procedures if different from manufacturer.
Validation of cleaning processes.
Evidence of backflow prevention measures such as maintaining pressure differential between tanker truck and bulk storage tank and use of non-return valve at tanker outlet.
mLOX transfer procedures from transportable cryogenic vessel to bulk storage tank at customer site.
A letter of authorization between the company making the deliveries and the mLOX manufacturer (if applicable).
A letter of authorization between the company making the deliveries and the company supplying the medical LOX (if applicable).
Quality Management Systems | ISO 9001: Quality Management Systems - Requirements
Documentation | Evidence of sale of medical LOX to government body.
Please list up to 5 institutional clients (e.g. international NGOs, large corporate bodies, government procurement agencies). Please include pertinent information about the relationship (e.g contract size, duration, products, etc.)