## L2G operation
INSTRUCTIONS
If you currently have an operational liquid to gas filling site, please complete the following table please complete Table 1 (blue) and attach relevant suporting documentation. CHAI wishes to support the entry of new, prepared and quality suppliers to the oxygen market. If you are responding to this bid solicitation as a growth opportunity, please complete Table 2 (green) for L2G filling site to be established at CUK and attach relevant supporting documentation from existing operations where applicable.You may consider the following resources when completing Table 2: • HTM-02-01: United Kingdom Department of Health: Health Technical Memorandum 02-01: Medical Gas Pipeline Systems - Part A Design, Installation, Validation and Verification and Part B Operational Management • NFPA 99: National Fire Protection Association (USA): Health Care Facilities Code Handbook • EIGA DOC 99/15 Good Manufacturing Practice Guide Part 1 and Part II For Medical Gases • EIGA DOC 236/21 Best Operations Practices For Filling Plants • EIGA DOC 228/20 Use of Quality Risk Management For Preparation Of Validation Protocols For Medicinal Gas Cylinder Filling Please note, the tables are not evaluation forms with a binary outcome. Data collected will be used to initiate a risk assessment (if deemed necessary) and determine priority for follow-up conversations & evaluations. When a risk assessment is completed, we will move forward with consideration for the current market and regulatory infrastructure in country. If you have not met the requirements in the tables previously because it has not been required by your regulatory and market environment, we wish to understand what preparations you have the capacity to make and where additional technical assistance, resources or time may be required.
Component | Specification | Meets requirement? (Yes/No) | Type of supporting document (select from drop down) | File name as submitted | Page No. | Comments
Volume | 20 J cylinders filled per hour
Regulatory | Proof of stringent regulatory authority (SRA) approval for medical LOX
OR
Proof of product meeting the requirements of an SRA pharmacopeia (e.g., USP, Ph Eu, BP, or IP) as shown by their specification and a sample Certificate of Analysis (CoA).
Good Manufacturing Practices(GMP) | Address of liquid to gas cylinder filling site
Certificate of Analysis (CoA) template to indicate alignment with USP, Ph Eu, Int’l Pharmacopoeia, or British Pharmacopoeia
Copy of the supplier’s license to distribute medical oxygen or license as a wholesaler of medical oxygen
Proof of GMP OR the following:
• L2G filling safety directives.
• If a supplier is filling industrial and medical high pressure gas cylinders, an explanation of when the product streams are separated and how contamination is prevented.
• Explanation of how a batch of medical LOX is defined.
• Validation of filling and cleaning processes.
• Pre-fill inspection procedures (and associated validation) that will be implemented to confirm that there is no evidence of tampering or risk of contamination prior to deciding if a cylinder is OK for filling.
• Procedures (and associated validation) that will be followed during connection and disconnection of cylinder from filling ramp to prevent contamination
High Pressure Gas Cylinder Filling Operations | Copies of batch documentation including CE under TPED (2010/35/EU) or ASME equivalent for the product
Evidence of interior of cylinder being cleaned and inspected for oxygen service.
Documentation of frequency of testing of cylinder integrity (e.g., 5-year hydrostatic testing).
Evidence of purging cylinder prior to filling.
Explanation of how industrial and medical oxygen cylinders are segregated and how contamination is prevented.
Evidence of use of seal for the valve stem at each fill.
Evidence of skills transfer to the operators of the filling station. (I.e. Traning report, Completion of service certificates etc)
Quality Management Systems | ISO 9001: Quality Management Systems - Requirements
Documentation | Evidence of sale of medical LOX to government body
Provide:
o Operation capacity building program including a comprehensive BMEs training and training of other involved staffs.
o cylinder filling management and operation oversight during uptime (inclusive of proposed schedule and activities) - for 6 months post-commissioning
TABLE 2: not currently operational L2G filling site
# | Question | Response |  |  | File name(s) of attached supporting documentation (if applicable)
1 | Describe your plans for the proposed L2G filling site at CUK to ensure the mLOX meets the requirements of USP, Ph Eu, BP or IP after filling. If applicable, please explain whether you are able to adopt or modify testing procedures from an existing medical oxygen production or gas cylinder filling site.
2 | Do you plan to have your site GMP certified? If so, by which certification body?
3 | Do you plan to have your site QMS certified? If so, to what standard?
4 | How will a batch of medical LOX be defined? Please state whether you plan to adapt a definition from current operations and if not, please see Section 7.5 of EIGA Doc 99/15/Part 1: Good Manufacturing Practices Guide Part 1 for Medical Gases for guidance.
5 | Please describe pre-fill inspection procedures (and associated validation) that will be implemented to confirm that there is no evidence of tampering or risk of contamination prior to deciding if a cylinder is OK for filling.
6 | Please describe procedures (and associated validation) that will be followed during connection and disconnection of cylinder from filling ramp to prevent contamination.
7 | Please describe L2G filling safety directives you will implement.
8 | Have you sold medical oxygen to a government body? If so, please describe how the medical oxygen was distributed (gas cylinders or cryogenic storage vessel, liquid or gaseous oxygen, etc)
9 | Please list up to 5 institutional clients (e.g. international NGOs, large corporate bodies, government procurement agencies). Please include pertinent information about the relationship (e.g contract size, duration, products, etc.)

## RFI_MFLab (hidden)
| 关于产品 | [9 empty] | 关于贵司
产品类型 Product Type | 产品标准要求 Product Specifications | 产品型号（请列出贵公司符合左侧标准要求的产品，并邮件提供电子版产品用户手册） Product Model (s) | 产品排期（假设下周下订单，预计能够供的最早出货排期至何时（日期）？ Lead time if order placed next week (date) | 本次订单所需数量 Units Required | 公司当前可出售的数量 Units Available | 法规批准/认证Regulatory Approval/Certification |  | 产品性能标准Standards, for product performance |  | 产品单价（美金） Unit price (USD) | 制造商标准 Standards, for manufacturer |  | 预付款要求 Pre-payment requirement | 公司以前有向埃塞俄比亚出口的经验吗？Does company have previous export experience to Ethiopia? | 图片示例 Picture
[6 empty] | 标准 | 如果有，请填写 “X” | 标准 | 如果有，清填写 “X” |  | 标准 | 如果有，清填写 “X”
简单氧气气面罩 Simple Face Masks | 成人式： 医用级 | LB1110, Adult(LA), 5.5mm x 2m绿色管 |  | 2000 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X | 生产前付清 | 有
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
ISO 18190
[8 empty] | ISO18562-1 | X
ISO/DIS 23368
[8 empty] | ISO/DIS 17256 | X
[8 empty] | ISO 15223-1 | X
不重吸面罩 Oxygen Mask with reservoir bag | 成人式： 氧气浓度：支持80%至100％的氧气浓度 管长: 2m 使用标准接头；管路（氧气管线）不弯曲 材质：聚氯乙烯（PVC）； 透明；医用级 | LB1310, Adult(LA), 5.5mm x 2m绿色管 氧袋1000ml |  | 2000 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
ISO 18190
[8 empty] | ISO18562-1 | X
ISO/DIS 23368
[8 empty] | ISO/DIS 17256 | X
[8 empty] | ISO 15223-1 | X
文丘里面罩（氧浓度可调面罩） Venturi Mask | 成人式：能以8至10 L / min 的流速输送低至中等流量的氧气，特定氧浓度为30％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,31%(氧气流速6L/min±10%),白色，其他符合 |  | 300 |  | CE | X | ISO1712:2009 |  |  | ISO9001 | X
[6 empty] | FDA | X | ISO15001 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO18562 | X |  | ISO14971 | X
| 成人式：能以10至12 L / min 的流速输送低至中等流量的氧气，特定氧浓度为40％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,40%(氧气流速8L/min±10%),粉色，其他符合 |  | 300 |  | CE | X | ISO 18190
[6 empty] | FDA | X | ISO18562-1 | X
[6 empty] | 出口许可证 | X | ISO/DIS 23368
| 成人式：能以12至15 L / min 的流速输送低至中等流量的氧气，特定氧浓度为60％。 面罩具有可调节的鼻夹。 该套件包括连接管，湿度杯和调节阀等，调节阀用颜色编码并指示氧气的百分比 (最好黄颜色）。 | LB1220,60%(氧气流速8L/min±10%),红色，其他符合 |  | 300 |  | CE | X | ISO/DIS 17256 | X
[6 empty] | FDA | X | ISO 15223-1 | X
[6 empty] | 出口许可证 | X
非侵入性/ CPAP口罩 Non-Invasive/CPAP Masks | 入口细菌过滤器（如果适用）（至少180）。 呼气过滤器，效率高。重复使用，可以承受高级消毒和灭菌。 中等大小 | LB3041,不带细菌过滤器，全硅胶，面罩+支架+头带, M |  | 130 |  | CE |  | ISO 18562-1:2017 | X |  | ISO9001 | X
[6 empty] | FDA |  | ISO 17510:2015 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X |  |  |  | ISO14971 | X
非侵入性/ CPAP口罩 Non-Invasive/CPAP Masks | 入口细菌过滤器（如果适用）（至少180）。 呼气过滤器，效率高。重复使用，可以承受高级消毒和灭菌。 大码。 | LB3041,不带细菌过滤器，全硅胶，面罩+支架+头带，L |  | 130
气管导管 Endotracheal Tube | 管： 尺码：7。 内径：7.0mm。 外径：9.3mm。 长度：最小320mm。 接头： 近端：标准内径：15mm。 远端（适合管子）：长度：最小16mm。 袖口： 直径：24mm | LB5010C, 带囊，ID 7.0mm,其他符合 |  | 350 |  | CE | X | ISO 5361:2016 | X |  | ISO9001 | X
[6 empty] | FDA |  | ISO 10993-1:2018 | X |  | ISO13485 | X
[6 empty] | 出口许可证 | X | ISO 11135:2014 | X |  | ISO14971 | X
| 管： 尺码：7.5 内径：7.5mm。长度：最小320mm。 接头： 近端：标准内径：15mm。 远端（适合管子）：长度：最小16mm。 | LB5010C, 带囊，ID 7.5mm,其他符合 |  | 350 |  | CE | X | ISO 5361:2016 | X
[6 empty] | FDA |  | ISO 10993-1:2018 | X
[6 empty] | 出口许可证 | X | ISO 11135:2014 | X