## Summary
Reference number |  | RFQ/CHAI/BMT/ETH/0124
Definitions
| Total Cost of RFP | 0 |  | PSM | Procurement and Supply Chain Management Cost
| Number of products |  |  | 3PL | Third party Logistics company
| Number of Health Facilities |  |  | Lead time | Time order is placed till products gets to the delivery address
Break down of PSM costs |  |  |  | Comments from supplier
S/no | Activity | % | Cost (USD)
1 | Freight
2 | Warehouse
3 | Quality Control
4 | Insurance
5 | Handling

## Products
Reference number |  | RFQ/CHAI/BMT/ETH/0123
Product information
S/no | Product | Model | Unit | Supplier/Manufacturer | Unit Cost (USD) | Quantity | Product cost (USD) | PSM costs (USD) | Total cost(USD) | INCOTERM | 3PL details | Country | Delivery address | Consignee details | Shipping documents | Lead time (days)
LOT 1: BIOMEDICAL MAINTENANCE WORKSHOP CALIBRATION AND ANALYZERS
1 | Electrical Safety Analyzer | ESA 614/12 | Pieces |  |  | 2 | 0 |  | 0 | DAP |  | Ethiopia | EPSS Addis Ababa, Ethiopia | Ethiopian Pharmaceutical Supply Agency Tel: (+251) 112 763276 ext. 8772 Email: info@epsa.gov.et Fax: 011 – 155 3277 P.O.Box – 21904 Location: Swaziland St, Addis Ketema Sub-city, Addis Ababa, Ethiopia Att: Nahom Gemechu; Director for Contract Management Directorate, EPSA E-mail: nahomgem.ethio@gmail.com Mobile: +251-91-2022-966 | •Signed commercial invoice Made out to the consignee address •Signed detailed packing list •Original clean shipped on board/AWB •certificate of origin •Any applicable CE/FDA inspection document •SDS sheet for dangerous goods
2 | Patient monitor Simulator | Prosim3/8 | Pieces |  |  | 1 | 0 |  | 0
3 | Gas Flow Analyzer and Ventilator tester | VT900A + Vapor | Pieces |  |  | 1 | 0 |  | 0
4 | Oxygen Analyzer | UltraMaxO2 | Pieces |  |  | 5 | 0 |  | 0
5 | Neonatal Incubator Analyzer | INCU II | Pieces |  |  | 1 | 0 |  | 0
6 | Phototherapy Radiometer | DALE 40 | Pieces |  |  | 1 | 0 |  | 0
7 | Electronics and Electrical Tool Kit |  | Set |  |  | 5 | 0 |  | 0
8 | Phase sequence meter | Fluke 9040 | Pieces |  |  | 1 | 0 |  | 0
9 | Digital Multimeter | Fluke 115 | Pieces |  |  | 5 | 0 |  | 0
10 | AC clamp meter | Fluke 325 | Pieces |  |  | 5 | 0 |  | 0
11 | Universal IC tester |  | Pieces |  |  | 1 | 0 |  | 0
12 | Multifunctional soldering Station |  | Pieces |  |  | 1 | 0 |  | 0
SUB TOTAL | [6 empty] | 0 | 0 | 0

## Submission Checklist
S/no | Submission Checklist | Document attached (Yes or No)
1 | Business Registration
2 | Company profile
3 | Tax clearance certificate
4 | Completed Annex A
5 | Completed Annex B
6 | CVs of key staff necessary for for the project delivery
7 | Evidence of similar projects/exports contracted in LMICs (from current year or within the past 2 years)

## Services and Project Timeline
Reference number |  | RFQ/CHAI/BMT/ETH/0124
Services and Project Timeline
Activity | Duration | Start | Finish | Comments
Procurement of all project materials
Staging of works at site
Installation works at site
Testing and Comissioning
Delivery of training to facility team (Target audience)
Completion of handover including provision of the following to CHAI, MOH, and facility team:
Testing report
Commissioning report and certificate

## Vendor details
Vendor information
Company Name
Local Address (HQ)
Phone
Contact name
Contact information
Years in Business
Any quality certifications (type e.g., QMS & date); Please attach copies of each certificate to RFP submission
Previous export experience to target countries (please describe and list any relevant registrations, qualifications, licenses, attaching copies of each to RFP)
Client portfolio
Tax Identification Number
3PL information
Company Name
Contact information
HQ Location
After care services provided as a part of the warranty
Nature of Partnership
Products Covered
Additional Costs